SNU  Neural Prosthesis Quiz #2  October 25, 2007

Name:                                   Student ID#:

- (types of visual implant)

List two types of artificial vision implant. For each, show the location of electrode in relation with the target neurons.

- (electronics for neural prosthesis)

Draw a current stimulator circuit. Assume one DAC current source and single channel monopolar stimulation using biphasic pulses.