Wastewater Treatment

1. Wastewater Microbiology

#### 1.1	Role of Microorganisms in wastewater treatment

- The microorganisms convert the colloidal and dissolved carbonaceous organic matter into gases and protoplasm.

- Since protoplasm has a specific gravity slightly greater than that of water, it can be removed from the treated water by gravity settling.

#### 1.2	Classification of Microorganisms

## By carbon source

- Heterotrophs:

- Autotrophs:

## By energy source

- Phototrophs:

- Chemotrophs:

- Organotrophs: orga

- Lithotrophs:

## By ability to use oxygen

- Obligate aerobes:

- Facultative anaerobes:

- Obligate anaerobes:

* Denitrifiers

* electron acceptor (hydrogen acceptor)

## By preferred temperature

- Psychrophiles:

- Mesophiles:

- Thermophiles:

- Stenothermophiles:

- Facultative thermophiles:

1.3	Biological Decomposition of Waste

- Aerobic decomposition

- Anoxic decomposition

- Anaerobic decomposition

See Table 5.1 (P.345)

1.4	Population Dynamics

Bacterial growth requirements

- A terminal electron acceptor

- Macronutrients (         )

- Micronutrients (

- Appropriate environment (                       )

Growth in Pure Culture (see Fig., 5.3., p.347)

- Lag phase

- Accelerated growth phase

- Log growth phase (exponential growth phase)

- Stationary phase

- Death phase

Growth in Mixed Culture (see Fig., 5.4, p.349)

- Competition for food

- Predator-Prey relationship

Monod Equation

- For the large numbers and mixed cultures of microorganisms in wastewater treatment systems, it is convenient to measure biomass rather than the numbers of organisms

- In the log-growth phase, the rate expression for biomass increase is,

where	X = concentration of biomass, [M/L3];

dX/dt = growth rate of the biomass, [M/L3,T]; and

μ = growth rate constant, [1/T].

-	Due to the difficulty of direct measurement of μ in mixed culture, Monod develop a method. (assumption: the rate of food utilization, e.g., the rate of biomass production, is limited by the rate of enzyme reactions and eventually not increase infinitely, but reach maximum value)

where	μm = maximum growth rate constant, [1/T];

S = concentration of limiting food in solution, [M/L3]; and

Ks = half saturation constant, [M/L3].

- Typical type of Monod model (see Fig., 5.6, p.351)

If μ = μm/2, then S = Ks.

When S >> Ks,

When S << Ks,           . This condition is food-limited, thus, S and X can be considered to be constant, then,  (zero order reaction)

-	If the decay of microbial mass is a 1sr order reaction then,

-	If all of the food in the system were changed to biomass, the rate of food utilization (dS/dt) = the rate of biomass production (dX/dt). However,

where	Y = yield coefficient, [biomass/food utilized].

2. Characteristics of Domestic Wastewater

## Physical Characteristics of Domestic Wastewater

- Odor

- Color

- Temperature : higher than that of the water supply

- Turbidity

## Chemical Characteristics of Domestic Wastewater

-	BOD5

- COD

- TKN: Total Kjeldahl Nitrogen = organic + ammonia

- TP: Total Phosphorus = ortho + poly + organic

3.	Municipal Wastewater Treatment Systems

Categories (see Fig. 5.10, p.362)

- Primary treatment:

to protect WWTP equipment

may not be included

Settle or Float

60% of SS and 35% of BOD5

- Secondary treatment

Biological process – to speed up the natural process

Soluble BOD5 and SS

more than 85% of BOD5 and SS

not enough for N, P, heavy metals, pathogens.

- Advanced treatment

Chemical treatments: precipitation, disinfection

Physical treatments: filtration

Biological treatments: wetland treatment, soil-crop treatment

4.	Unit Operations of Pretreatment

Bar Racks

- to remove large objectives (e.g., logs, rags) that would damage pumps, valves, etc.

- Fig. 5.11, p.365

- Mechanical cleaned racks: 5-40mm, 0.6-1.2m/sec, min. velocity 0.3-0.6m/s to prevent grit accumulation, 2 channels should be

Grit Chambers (침사지)

- Grit: inert dense materials (e.g., sand, broken glass, silt, and pebbles, etc.) that can damage mechanical devices and settle and clog

- Velocity controlled (horizontal-flow grit chamber): sedimentation

-	Overflow rate (vo) be set at 0.33 – 0.70 times of vs.

-	Example 5.2 (p.366)

Communitors

-	to macerate rags, papers, plastics, etc. by revolving cutting bars

-	Fig. 5.13, p.368.

Equalization (유량 조정조)

5.	Primary Treatment

-	Sedimentation tank (see Fig. 5.14, p.373)

- Settled solids are “raw sludge”

- Floating materials (e.g., grease, oil, etc.) are collected by “skimming system”.

- The Stokes equation cannot be used because the flocculating particles are continually changing in size, shape, and specific gravity (thus, Type II, Ch. 3)

- Example 5.4 (p.374)

6.	Unit Processes of Secondary Treatment

Overview

- to remove (1)              and (2)

The conventional aerobic secondary biological treatment

- the availability of many microorganisms

- good contact between these microorganisms and the organic materials

- the availability of oxygen

- the maintenance of other favorable environmental conditions

-	Trickling filter

- Activated sludge

- Oxidation ponds(or lagoons)

- Rotating Biological Contactor(RBC)

#### Trickling Filter (Fig. 5.15, p.375)

- A rock filter (25-100mm in media diameter, diameter up to 60m, less than 3m deep)

- Secondary clarifier (or final clarifier)

- Under high organic loading, clogging and anaerobic zone problem

- Synthetic media to increase surface area, void ratio, height of the filter (upto 12m)

- m3/day,m2;  m/day;  kg/day,m3

- Recirculation (to increase contact efficiency, to dampen loading variations, to increase DO, to improve flow distribution, to prevent biological slimes from drying out) : may or may not improve treatment efficiency.

- Two-stage tricking filter (Fig. 5.17, p.378): same medium or different media

Activated Sludge (Fig. 5.18, 19, p.382, 383)

- Activated sludge : individual organisms clump together (flocculation) to form an active mass of microbes (biological floc)

- Mixed liquor : the mixture of activated sludge and wastewater in the aeration tank

- Return sludge(반송슬러지): to maintain the high population of microbes

- Aeration : surface agitation or bottom diffusion (about 8m3-air/m3-wastewater)

- Waste activated sludge(잉여슬러지): a portion of the microorganisms discarded from the process

- Mean cell residence time (or solids residence time, SRT, sludge age) : the average amount of time that microorganisms are kept in the system

-	Process modifications (see, Table 5.10, p. 385)

Model for Completely Mixed Activated Sludge Process (Fig. 5.21, p.387)

-	Under steady-state conditions, the mass balance for biomass

Biomass in influent + Biomass accumulated

= Biomass in effluent + Biomass wasted

where	Q = wastewater flow rate into the aeration tank, [L3/T];

X0 = microorganism concentration entering aeration tank, [M/L3];

V = volume of aeration tank, [L3];

μm = maximum growth rate constant, [1/T];

S = soluble BOD5 in aeration tank and effluent, [M/L3];

X = microorganism concentration in the aeration tank, [M/L3];

Ks = half velocity constant, [M/L3];

kd = decay rate of microorganisms, [1/T];

Qw = flow rate of liquid containing microorganisms to be wasted, [L3/T];

Xe = microorganism concentration in effluent from secondary settling tank, [M/L3]; and

Xr = microorganism concentration in sludge being wasted, [M/L3].

If Xo and Xe are negligible;

and

Hydraulic retention time (θ),

Mean cell residence time (θc)

(if Xe is not negligible?)

and

(S is independent of So and θ)

-	Under steady-state conditions, the mass balance for food (soluble BOD5)

Food in influent + Food consumed

= Food in effluent + Food in wasted sludge

where	Y = yield coefficient

then,

and

SVI (Sludge Volume Index, Fig., 5.22, p.395)

where	SVI = sludge volume index, mL/g;

SV = volume of settled solids in one-liter cylinder after 30min settling, mL/L; and

MLSS = mixed liquor suspended solids, mg/L.

7.	Disinfection

- Chlorine gas (or other form of chlorine) is the most commonly used in U.S.

- Disadvantages (?)

- carcinogenic byproducts

- more effective in killing the predators

- chlorine is toxic to fish

8.	Advanced Wastewater Treatment

###### Filtration

###### Carbon Adsorption

###### Phosphorus Removal

- Precipitation

#### Using ferric chloride

#### Using alum

#### Using lime

-	Biological treatment

## Nitrogen Removal

-	Nitrification

- Denitrification

-	Ammonia stripping

9.	Sludge Treatment and Disposal

- Purifying wastewater creates another problem, e.g., sludge.

- The higher the degree of wastewater treatment, the larger the residue of sludge.

- Sludge treatment and disposal is most complex and costly operation in a municipal wastewater treatment system.

- Sludge contains water as much as 97%.

Sludge Treatment

-	Thickening(농축): by gravity or flotation (see Figs. 5.34, 35, p.429)

-	Stabilization(안정화): digestion, to convert the organic solids to inert forms (see Figs. 5.39, 40, p.436, 437)

-	Conditioning: to separate water easily, by chemicals or heat

-	Dewatering(탈수): vacuum, pressure, or drying

-	Reduction: incineration or wet oxidation

## Sludge Disposal

-	Landfill

- Land Spreading: recovery nutrients or reclaiming despoiled land such as strip mine spoils

- Composting

- Incineration