SYLLABUS

(Second Semester, 2013)

| Subject No. | 446.405A | Class No. |  | Subject | Environmental Thermal Engineering | Credit | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Professor | Name: Min Soo KIM | Homepage : http://reflab.snu.ac.kr |
| Professor | E-mail : minskim@snu.ac.kr | Office Telephone Number : 880-8362 |
| Professor | Office Hour / Place : After the Class / Classroom |
| 1. Objective | Based on the basic principles of thermodynamics, fluid mechanics and heat transfer, analysis on the refrigeration system and air-conditioning system will be practiced. For an optimal design of heating, cooling, humidification, and ventilation system, the system components will be studied and proper system integration will be made. Effective energy utilization will be covered together with new and renewable energy system design. |
| 2. Textbook | W. F. Stoecker, Air Conditioning and Refrigeration, 2nd ed., McGraw Hill (1982) F. C. McQuiston, J. D. Spitler, J. D. Parker, Heating, Ventilating, and Air Conditioning, John Wiley & Sons (2000) |
| 3. Evaluation | Attendance | Homework | Mid Exam | Final Exam | Attitude | Others | Total |
| 3. Evaluation | 5% | 20% | 30% | 40% | 5% | 0% | 100% |
| 3. Evaluation |  |
| 4. Plan | 주 | Contents |
| 4. Plan | 1 | Introduction, Carnot refrigeration cycle, Actual vapor compression cycle |
| 4. Plan | 2 | Compressor, Ideal performance and Actual performance |
| 4. Plan | 3 | Heat exchanger, Condenser, Evaporator |
| 4. Plan | 4 | Expansion device, Operating characteristics, Optimal design |
| 4. Plan | 5 | Absorption refrigeration system, Heat pump system |
| 4. Plan | 6 | Refrigerants and related environmental issues, Ice storage |
| 4. Plan | 7 | Heat pipe, Natural refrigeration |
| 4. Plan | 8 | Design of refrigeration system, Mid-term examination |
| 4. Plan | 9 | Air-conditioning system and related components |
| 4. Plan | 10 | Humid air and its property, Air conditioning processes |
| 4. Plan | 11 | Heat load calculation |
| 4. Plan | 12 | Air-conditioning systems for building applications, Energy usage in buildings |
| 4. Plan | 13 | Indoor air quality, Air clening, Ventilation |
| 4. Plan | 14 | New and renewable energy |
| 4. Plan | 15 | Fuel cell syste, Final examination |
| 5. Note |  |