II. Basic Water Chemistry

1.	Governing Concepts

-	Stoichiometry (화학양론식):

-	Chemical Equilibrium (화학적 평형):

-	Reaction Kinetics (반응 동역학):

1.1 Stoichiometry

where	R1 and R2 = reactants,

P1 and P2 = products, and

b, c, m, and n = stoichiometric coefficients.

1.2 Chemical Equilibrium

- The underlying theory for chemical equilibrium is based on thermodynamics.

At equilibrium, the rate of “forward” reaction is identical to it of “reverse” reaction. The rate of forward reaction is expected to proportional to the rate of collisions between A and B. It means that the rate of forward reaction is directly proportional to the concentrations of A and B.

where	Rf = rate of the forward reaction;

kf = rate constant (vary with temperature); and

[A], and [B] = concentrations of A and B.

where	Rr = rate of the reverse reaction;

kr = rate constant (vary with temperature); and

[C], and [D] = concentrations of C and D.

At equilibrium,

where	K = equilibrium constant of the reaction (constant at a fixed temperature)

1.3 Reaction Kinetics

- When a system is at equilibrium?

- How much time is needed for a system to reach equilibrium?

- What can we say about systems that are not at equilibrium?

where	a, b, c, and d = stoichiometric coefficients;

A and B = reactants;

C = product; and

“1” = arbitrary symbol to identify the reaction.

where	k = rate constant (a function of temperature, or a function of pressure for gaseous reactions); and

and = empirical coefficients.

For an elementary reaction (On the other hand, andmust be determined experimentally)

Zero-order reaction:

First-order reaction:  or

Second-order reaction: , , or

(Reading Assignment, 2-3 Organic Chemistry p59-62)

2.	Phase Changes and Partitioning

2.1	Vapor Pressure

Definition:

At equilibrium condition between a species in the vapor phase and a flat surface of the pure liquid of the specimen,

where	Pio = equilibrium partial pressure of species i (dependent on temperature);

Kvp = an equilibrium constant (i.e., vapor pressure, dependent on temperature).

Relative Humidity: the amount of water vapor in air

where	RH = relative humidity;

PH2O = actual partial pressure of water vapor; and

PH2O0 (T) = saturation vapor pressure at given temperature.

For a mixture of single volatile liquid and nonvolatile impurities, the dilution of a liquid with nonvolatile impurities reduces the vapor pressure of the liquid because nonvolatile molecules occupy a portion of the surface, reducing the area from which evaporation takes place. Thus, higher temperature is needed than the pure liquid boils (Raoult’s law).

where	Xi = the mole fraction of the volatile component in the mixture.

2.2	Dissolution of Species in Water

Partitioning between the gas phase and water: Henry’s law

where	Cw = equilibrium concentration in the aqueous phase;

KH,g and Hg = Henry’s law constant; and

Pg = equilibrium partial pressure in the gas phase.

## Solubility of Nonaqueous-Phase Liquids

NAPL (nonaqueous-phase liquid):

Under equilibrium conditions, the quantity of the NAPL that dissolves in water depends on the species and the temperature, but not on the volume of the NAPL.

Ci (T) = Kws(T)

where	Ci = equilibrium concentration of NAPL compound i dissolved in water; and

Kws = water solubility for the compound.

## Dissolution and Precipitation of Solids

(→: dissolution, and ←: precipitation)

where	Ksp = solubility product (용해도적)

2.3 Sorption

- Adsorption:

- Absorption:

Sometimes it is not possible to distinguish between adsorption and absorption. Then, the term sorption is used.

### Sorption Isotherms

### Linear:

Freundlich:

Langmuir:

where	qe = equilibrium mass of sorbed molecules per mass of sorbent; and

Ce = equilibrium concentration of contaminant molecules in a fluid.

“Isotherm” means “uniform temperature”. Partitioning varies with temperature.

3.	Acid-Base Reactions

-	Since acid-base reactions are generally very fast, pH predictions are almost always based on the assumption of equilibrium.

3.1	Acid-Base Reactions and the Hydrogen Ion

-	Hydrogen ions do not exit as free H+ species in aqueous solution. H3O+ is highly favored. The resulting ion may have one or more additional water molecules loosely bound to it.

-	Acid and Base (donate or lose hydrogen ion or electron)

3.2	pH of Pure Water

H2O  ↔  H+ + OH-

K’[H2O] = [H+][OH-] = Kw = 10-14

where	Kw = equilibrium or dissolution constant for water (dependent on temperature)

3.3	Strong and Weak Acids

HA  ↔  H+ + A-

where	KA = acid dissociation constant

pKA are less than 1, “strong acid”

3.4	Carbonate-Bicarbonate System

CO2(g) 	carbon dioxide gas

CO2(aq)	dissolved carbon dioxide

H2CO3(aq)	carbonic acid (a diprotic, weak acid)

HCO3-(aq)	bicarbonate ion

CO32-(aq)	carbonate ion

CaCO3(s)	calcium carbonate (limestone)

CO2(g) vs. CO2(aq)	[CO2(aq)] = KH∙PCO2

CO2(aq) vs. H2CO3(aq)	CO2(aq) + H2O ↔ H2CO3

For engineering purposes we combine CO2(aq) and H2CO3(aq) into one variable, H2CO3* because it is difficult to experimentally differentiate between CO2(aq) and H2CO3.

[H2CO3*] = [CO2(aq)] + [H2CO3(aq)] = [CO2(aq)] ∙(1 + KA) ≈ [CO2(aq)]

H2CO3* vs. HCO3-(aq)	H2CO3* ↔ H+ + HCO3-(aq)

HCO3-(aq) vs. CO32-(aq)	HCO3-(aq) ↔ H+ + CO32-(aq)

CO32-(aq) vs. CaCO3(s)	CaCO3(s) ↔ Ca2+ + CO32-(aq)

Ksp = [Ca2+]∙[ CO32-(aq)]

Ccarbonate = [H2CO3*] + [HCO3-(aq)] + [CO32-(aq)]

#### Distribution of aqueous carbonate species as a function of pH

- Figure 2-10 (p. 69), and 2-11 (p.70)

Closed system

Open system

3.5 Inorganic Impurities

3.5.1 Ions in water

Table  Most prevalent ions in natural waters, along with typical molar concentrations

| Ion | Seawater (M) | River water (M) |
| --- | --- | --- |
| Na+ | 0.47 | 0.23 x 10-3 |
| Mg2+ | 0.053 | 0.15 x 10-3 |
| Ca2+ | 0.010 | 0.33 x 10-3 |
| K+ | 0.010 | 0.03 x 10-3 |
| Cl- | 0.55 | 0.16 x 10-3 |
| SO42- | 0.028 | 0.07 x 10-3 |
| HCO3- | 0.0024 | 0.86 x 10-3 |

3.5.2 Electroneutrality

where	zi = charge per molecule on the ith ion; and

Ci = the molar concentration of the ith ionic species [M].

3.5.3 Ionic strength

where	I = ionic strength

-	Ionic strength of water significantly affect the activities of ionic species in water.

3.5.4 Hardness

-	the sum of normalities of all multivalent cations (i.e., charge of +2 or greater)

-	Hardness is often expressed in terms of the equivalent mass concentration of calcium carbonate (CaCO3). For example, a hardness of 1 meq/L is the same as a hardness of 50 mg/L as CaCO3.

-	Soft (< 75 mg/L as CaCO3), Hard (150 - 300 mg/L as CaCO3), very Hard (> 300 mg/L as CaCO3).

3.5.5 Alkalinity

-	the capacity of water to neutralize acids

where	A = alkalinity

4. Oxidation-Reduction Reactions

-	Acid-base reactions: transfer of protons

-	Oxidation-reduction reactions (Redox reactions):

4.1 Corrosion

A galvanic cell may occur in a water supply system when two dissimilar metals, such as iron and copper pipe, are connected. In this case, the iron will corrode.

Microbial Fuel Cell

4.2 Combustion

4.3 Atmospheric oxidation processes

Thermal reactions vs. Photolytic reactions

4. 4 Microbial Reactions

Photosynthetic production of biomass

Aerobic Respiration

##### Nitrogen Fixation

Nitrification

Nitrate Reduction (or Denitrification)

Sulfate Reduction

Methane Formation

5. Organic Chemistry